## 165_6
S&C Positrol Fuse Links: Universal and X-Performance "K" Speed (TCC 165-6) | [9 empty] | S&C Positrol Fuse Links: Universal and X-Performance "K" Speed (TCC 165-6) | [9 empty] | S&C Positrol Fuse Links: Universal and X-Performance "K" Speed (TCC 165-6)
Universal and Extra Performance Styles | [9 empty] | Universal and Extra Performance Styles | [9 empty] | Universal and Extra Performance Styles
"K" Speed (TCC 165-6) | [9 empty] | "K" Speed (TCC 165-6) | [9 empty] | "K" Speed (TCC 165-6)
Minimum Melting Time-Current Characteristic Curves Dated January 20, 1986 | [9 empty] | Minimum Melting Time-Current Characteristic Curves Dated January 20, 1986 | [9 empty] | Minimum Melting Time-Current Characteristic Curves Dated January 20, 1986
Tolerance in Terms of Current: Plus 10% for links rated 6K thru 100K; Plus 20% for links rated 140K and 200K | [9 empty] | Tolerance in Terms of Current: Plus 10% for links rated 6K thru 100K; Plus 20% for links rated 140K and 200K | [9 empty] | Tolerance in Terms of Current: Plus 10% for links rated 6K thru 100K; Plus 20% for links rated 140K and 200K
6K |  | 8K |  | 10K |  | 12K |  | 15K |  | 20K |  | 25K |  | 30K |  | 40K |  | 50K |  | 65K |  | 80K |  | 100K |  | 140K |  | 200K
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
230.983 | 0.01 | 320.648 | 0.01 | 422.988 | 0.01 | 548.037 | 0.01 | 708.637 | 0.01 | 921.813 | 0.01 | 1175.37 | 0.01 | 1455.84 | 0.01 | 1903.29 | 0.01 | 2421.98 | 0.01 | 2999.92 | 0.01 | 3937.65 | 0.01 | 4931.21 | 0.01 | 7834.87 | 0.01 | 10000 | 0.014903
220.598 | 0.010953 | 308.075 | 0.010855 | 403.971 | 0.010953 | 526.022 | 0.010855 | 672.729 | 0.011107 | 873.356 | 0.011152 | 1118.05 | 0.011052 | 1390.39 | 0.011008 | 1814.09 | 0.011019 | 2308.47 | 0.011008 | 2859.32 | 0.011008 | 3768.15 | 0.010931 | 4676.66 | 0.011085 | 7452.76 | 0.011085 | 9370.67 | 0.016989
202.015 | 0.01306 | 287.535 | 0.012486 | 370.311 | 0.013021 | 487.526 | 0.012649 | 626.622 | 0.01284 | 807.823 | 0.013034 | 1029 | 0.013021 | 1275.81 | 0.013034 | 1659.61 | 0.013192 | 2128.86 | 0.012905 | 2621.08 | 0.013047 | 3492.39 | 0.012725 | 4123.02 | 0.014205 | 6736.8 | 0.013675 | 8564.15 | 0.020483
184.443 | 0.015715 | 265.693 | 0.014623 | 330.743 | 0.016372 | 447.798 | 0.014963 | 577.867 | 0.015023 | 703.694 | 0.01716 | 932.942 | 0.015841 | 1146.35 | 0.016177 | 1476.37 | 0.016686 | 1912.83 | 0.015984 | 2343.36 | 0.016372 | 3160.04 | 0.015481 | 3726.93 | 0.01735 | 5986.97 | 0.017229 | 7866.28 | 0.0244
164.571 | 0.019582 | 244.531 | 0.017281 | 298.671 | 0.020057 | 405.185 | 0.018239 | 535.041 | 0.017542 | 642.485 | 0.020565 | 841.632 | 0.019387 | 1023.86 | 0.020218 | 1302.89 | 0.021383 | 1722.17 | 0.019759 | 2101.36 | 0.020178 | 2925.85 | 0.018022 | 3282.43 | 0.022389 | 5401 | 0.021191 | 7189.24 | 0.029212
144.943 | 0.025219 | 220.598 | 0.021191 | 268.632 | 0.024794 | 368.833 | 0.022012 | 475.489 | 0.022233 | 569.833 | 0.026091 | 736.083 | 0.025396 | 921.813 | 0.025043 | 1163.68 | 0.026698 | 1558.28 | 0.024061 | 1901.39 | 0.02467 | 2725.32 | 0.020792 | 2905.44 | 0.028548 | 4852.94 | 0.026117 | 6643.14 | 0.034144
131.676 | 0.030526 | 201.008 | 0.025472 | 233.771 | 0.032707 | 333.734 | 0.026886 | 434.999 | 0.026565 | 521.831 | 0.031174 | 652.195 | 0.032317 | 820.032 | 0.031614 | 1027.97 | 0.03435 | 1375.18 | 0.030895 | 1689.76 | 0.031205 | 2441.43 | 0.025702 | 2584.64 | 0.035931 | 4343.09 | 0.032772 | 5992.96 | 0.041787
117.371 | 0.03842 | 177.389 | 0.032772 | 209.839 | 0.040593 | 303.488 | 0.032446 | 390.077 | 0.033069 | 471.7 | 0.038267 | 577.867 | 0.041289 | 734.612 | 0.039314 | 910.818 | 0.043711 | 1231.93 | 0.038574 | 1486.74 | 0.040229 | 2233.53 | 0.03071 | 2290.08 | 0.04586 | 3894.58 | 0.040633 | 5449.83 | 0.050784
107.484 | 0.045768 | 162.445 | 0.038962 | 189.491 | 0.050128 | 273.785 | 0.039789 | 357.217 | 0.039432 | 422.143 | 0.047588 | 509.456 | 0.053228 | 650.241 | 0.049928 | 831.593 | 0.052174 | 1124.78 | 0.046228 | 1317.3 | 0.051192 | 2057.69 | 0.036075 | 2051.53 | 0.056974 | 3495.88 | 0.050734 | 5015.76 | 0.059955
94.476 | 0.059062 | 146.546 | 0.047779 | 173.529 | 0.059895 | 248.724 | 0.048308 | 321.933 | 0.048647 | 385.038 | 0.057546 | 447.798 | 0.069102 | 586.014 | 0.061534 | 731.68 | 0.067262 | 1030.03 | 0.05529 | 1175.37 | 0.064302 | 1880.59 | 0.043406 | 1792.45 | 0.074858 | 3194.99 | 0.060497 | 4574.9 | 0.071923
85.2293 | 0.072428 | 132.733 | 0.058416 | 156.858 | 0.072791 | 221.482 | 0.060739 | 295.109 | 0.057893 | 341.84 | 0.072718 | 399.951 | 0.086539 | 529.717 | 0.075233 | 659.408 | 0.082648 | 926.434 | 0.06862 | 1053.99 | 0.079885 | 1718.73 | 0.051966 | 1610.56 | 0.092628 | 2862.18 | 0.075384 | 4168.62 | 0.086279
75.2899 | 0.092721 | 119.026 | 0.072355 | 140.8 | 0.090794 | 191.013 | 0.081499 | 269.979 | 0.06931 | 300.769 | 0.093746 | 358.29 | 0.10773 | 481.229 | 0.091249 | 596.657 | 0.10115 | 824.967 | 0.086539 | 932.942 | 0.10186 | 1558.28 | 0.063092 | 1421.32 | 0.11953 | 2613.22 | 0.090612 | 3828.93 | 0.10288
65.9796 | 0.12049 | 107.377 | 0.089174 | 128.296 | 0.10946 | 171.287 | 0.10155 | 247.236 | 0.082318 | 266.225 | 0.12013 | 319.368 | 0.13613 | 439.371 | 0.10903 | 528.13 | 0.12871 | 741.254 | 0.10708 | 843.317 | 0.12429 | 1421.32 | 0.076065 | 1241.83 | 0.15612 | 2374.02 | 0.10979 | 3523.96 | 0.12244
58.1686 | 0.15518 | 96.9646 | 0.10914 | 116.203 | 0.13277 | 156.232 | 0.12183 | 225.957 | 0.099047 | 235.649 | 0.15302 | 284.105 | 0.17219 | 398.753 | 0.13237 | 471.229 | 0.16232 | 666.702 | 0.13263 | 767.657 | 0.1494 | 1292.51 | 0.091982 | 1103.61 | 0.19926 | 2178.39 | 0.13079 | 3201.39 | 0.15105
51.8495 | 0.19551 | 87.825 | 0.1333 | 104.725 | 0.16494 | 141.648 | 0.14747 | 207.129 | 0.11799 | 210.681 | 0.19183 | 256.555 | 0.21094 | 360.086 | 0.16346 | 414.612 | 0.20905 | 588.951 | 0.17031 | 700.184 | 0.17922 | 1188.37 | 0.10881 | 968.107 | 0.25765 | 1977.01 | 0.16232 | 2955.25 | 0.18138
46.0324 | 0.24879 | 78.598 | 0.1666 | 96.7708 | 0.1924 | 130.235 | 0.17497 | 190.441 | 0.13943 | 191.971 | 0.23012 | 228.913 | 0.26338 | 327.125 | 0.19787 | 366.626 | 0.26629 | 520.268 | 0.21824 | 643.128 | 0.21264 | 1062.46 | 0.13681 | 843.317 | 0.33717 | 1774.62 | 0.2043 | 2797.1 | 0.20656
43.0063 | 0.28761 | 71.2608 | 0.20247 | 89.9583 | 0.22287 | 119.145 | 0.20926 | 171.459 | 0.17236 | 178.1 | 0.26816 | 208.584 | 0.31817 | 295.699 | 0.24264 | 326.798 | 0.33515 | 463.749 | 0.27523 | 587.187 | 0.25457 | 959.433 | 0.1676 | 741.254 | 0.43729 | 1656.3 | 0.23808 | 2644.77 | 0.23784
40.0587 | 0.33549 | 64.9323 | 0.24656 | 84.2127 | 0.2556 | 110.205 | 0.24435 | 155.764 | 0.20864 | 166.391 | 0.30846 | 188.358 | 0.39252 | 262.262 | 0.30877 | 292.464 | 0.42056 | 416.69 | 0.34124 | 535.576 | 0.306 | 859.493 | 0.20843 | 670.714 | 0.53517 | 1525.9 | 0.28703 | 2523.34 | 0.26843
37.4627 | 0.38823 | 59.7606 | 0.29342 | 79.1501 | 0.28963 | 101.834 | 0.28703 | 143.071 | 0.24705 | 157.015 | 0.34709 | 175.975 | 0.45332 | 237.542 | 0.37789 | 272.147 | 0.48814 | 377.414 | 0.41972 | 490.46 | 0.36562 | 778.48 | 0.25508 | 611.762 | 0.65171 | 1390.39 | 0.35269 | 2414.72 | 0.30145
35.4934 | 0.43992 | 55.3317 | 0.34502 | 74.3918 | 0.33016 | 94.8546 | 0.33149 | 132.203 | 0.29021 | 145.961 | 0.40448 | 165.066 | 0.51884 | 215.367 | 0.46201 | 253.495 | 0.56827 | 337.763 | 0.52879 | 455.932 | 0.42564 | 714.329 | 0.30326 | 570.974 | 0.76173 | 1289.92 | 0.4193 | 2310.78 | 0.34056
33.5268 | 0.50451 | 50.8228 | 0.41472 | 69.5013 | 0.38054 | 87.2123 | 0.3937 | 120.342 | 0.35199 | 137.599 | 0.45787 | 154.214 | 0.5974 | 195.849 | 0.56713 | 239.21 | 0.642 | 313.671 | 0.61992 | 422.988 | 0.497 | 652.847 | 0.36562 | 536.648 | 0.88236 | 1197.92 | 0.498 | 2213.52 | 0.38437
31.4798 | 0.59028 | 47.5293 | 0.48039 | 63.0764 | 0.46712 | 79.9456 | 0.47135 | 107.269 | 0.44971 | 129.586 | 0.52092 | 143.645 | 0.69826 | 180.43 | 0.67695 | 225.055 | 0.73333 | 294.225 | 0.71237 | 396.765 | 0.57169 | 600.248 | 0.43685 | 503.883 | 1.0324 | 1118.05 | 0.58851 | 2105.57 | 0.44568
29.6466 | 0.68855 | 44.095 | 0.56713 | 57.7051 | 0.56374 | 74.9893 | 0.54001 | 98.6271 | 0.5384 | 121.552 | 0.59502 | 133.399 | 0.81778 | 169.244 | 0.77712 | 213.651 | 0.8227 | 278.758 | 0.8048 | 373.285 | 0.65497 | 560.788 | 0.50401 | 474.539 | 1.1982 | 1046.64 | 0.6927 | 2018.96 | 0.50603
28.0881 | 0.796 | 41.5271 | 0.65236 | 53.7501 | 0.65892 | 71.3321 | 0.60401 | 90.1384 | 0.65563 | 113.108 | 0.69617 | 124.132 | 0.95967 | 159.388 | 0.89033 | 202.622 | 0.93224 | 262 | 0.92945 | 348.049 | 0.76785 | 526.548 | 0.57513 | 450.944 | 1.3687 | 984.706 | 0.8048 | 1949.52 | 0.56318
26.1107 | 0.96738 | 38.7971 | 0.76479 | 50.6706 | 0.74814 | 67.3798 | 0.68307 | 84.0444 | 0.77093 | 107.055 | 0.78887 | 116.32 | 1.1116 | 151.615 | 1.0018 | 192.933 | 1.049 | 246.989 | 1.0649 | 326.798 | 0.88678 | 503.883 | 0.63435 | 426.385 | 1.5981 | 931.078 | 0.92574 | 1878.71 | 0.62992
24.6394 | 1.1386 | 36.6109 | 0.88147 | 47.8153 | 0.85116 | 63.3292 | 0.78887 | 79.5468 | 0.87183 | 100.72 | 0.9056 | 110.536 | 1.2559 | 143.358 | 1.1455 | 183.34 | 1.191 | 234.943 | 1.2042 | 309.31 | 1.0119 | 480.748 | 0.70036 | 408.031 | 1.8273 | 880.371 | 1.0756 | 1808.66 | 0.71308
23.0196 | 1.3921 | 34.6517 | 1.0109 | 45.4379 | 0.95584 | 59.8802 | 0.89659 | 74.8395 | 1.0049 | 94.5705 | 1.0511 | 104.307 | 1.4446 | 137.187 | 1.2761 | 174.748 | 1.3416 | 221.704 | 1.3866 | 293.05 | 1.1512 | 458.676 | 0.77946 | 388.908 | 2.1019 | 846.697 | 1.1982 | 1746.45 | 0.79839
21.875 | 1.6255 | 32.9617 | 1.1593 | 43.3517 | 1.0659 | 56.9598 | 1.0099 | 71.8331 | 1.1072 | 88.8852 | 1.22 | 97.6457 | 1.7021 | 131.019 | 1.4331 | 166.724 | 1.5172 | 208.793 | 1.6191 | 279.037 | 1.3019 | 435.87 | 0.8762 | 373.285 | 2.3985 | 813.498 | 1.3429 | 1684.69 | 0.90379
20.9963 | 1.8642 | 31.3228 | 1.3349 | 41.9025 | 1.1593 | 54.399 | 1.133 | 68.8786 | 1.2273 | 84.974 | 1.37 | 93.3491 | 1.9133 | 124.38 | 1.6402 | 158.118 | 1.7592 | 199.805 | 1.82 | 265.428 | 1.4841 | 414.612 | 0.98004 | 358.649 | 2.7755 | 780.819 | 1.5187 | 1620.26 | 1.0354
20.1932 | 2.0998 | 29.6762 | 1.554 | 40.2193 | 1.2787 | 51.9533 | 1.2723 | 65.2578 | 1.4005 | 80.6683 | 1.5634 | 88.5304 | 2.2119 | 119.384 | 1.8401 | 149.059 | 2.0541 | 192.933 | 1.9994 | 252.23 | 1.7021 | 395.972 | 1.0885 | 345.967 | 3.1799 | 750.953 | 1.7021 | 1553.61 | 1.2066
19.3433 | 2.3913 | 28.3137 | 1.7804 | 38.6422 | 1.416 | 49.4195 | 1.4548 | 62.6364 | 1.5634 | 76.4278 | 1.8073 | 84.6348 | 2.5341 | 113.902 | 2.0914 | 141.082 | 2.4105 | 184.628 | 2.2656 | 242.34 | 1.9019 | 378.17 | 1.2249 | 333.067 | 3.7204 | 718.627 | 1.9716 | 1497.18 | 1.3838
18.5292 | 2.7479 | 27.0137 | 2.0541 | 37.0529 | 1.5696 | 47.1977 | 1.6567 | 59.5816 | 1.7929 | 72.9188 | 2.0665 | 80.5877 | 2.9207 | 108.347 | 2.4033 | 133.933 | 2.8062 | 177.744 | 2.5265 | 230.983 | 2.1921 | 360.446 | 1.3824 | 322.255 | 4.3096 | 688.381 | 2.277 | 1437.04 | 1.6061
17.767 | 3.1672 | 25.8509 | 2.351 | 35.5644 | 1.7451 | 45.2113 | 1.8754 | 56.9029 | 2.0377 | 69.7101 | 2.3557 | 77.0416 | 3.3462 | 104.099 | 2.7016 | 128.04 | 3.2344 | 170.263 | 2.8975 | 220.157 | 2.5341 | 344.586 | 1.554 | 311.171 | 5.0171 | 660.068 | 2.6428 | 1386.22 | 1.8457
17.1217 | 3.5997 | 24.7877 | 2.6801 | 33.7961 | 1.9854 | 43.3084 | 2.1188 | 54.0195 | 2.3723 | 66.7094 | 2.6747 | 73.6516 | 3.853 | 99.8177 | 3.089 | 122.283 | 3.7093 | 163.587 | 3.313 | 210.26 | 2.9295 | 328.436 | 1.7627 | 300.469 | 5.8935 | 636.728 | 3.0582 | 1337.21 | 2.1082
16.5328 | 4.1076 | 23.626 | 3.1545 | 32.6011 | 2.1986 | 42.0284 | 2.323 | 51.9014 | 2.664 | 64.3506 | 2.9768 | 70.9054 | 4.3399 | 96.0958 | 3.4968 | 117.842 | 4.199 | 158.118 | 3.7842 | 202.825 | 3.3329 | 314.613 | 1.9834 | 291.88 | 6.8747 | 620.387 | 3.4139 | 1295.09 | 2.3937
16.0121 | 4.6639 | 22.8362 | 3.5746 | 31.2602 | 2.4765 | 40.7863 | 2.5698 | 49.7667 | 3.0127 | 62.0752 | 3.3296 | 68.9475 | 4.8155 | 93.1625 | 3.8723 | 114.016 | 4.7202 | 153.292 | 4.3139 | 197.817 | 3.6797 | 300.469 | 2.2611 | 284.674 | 7.9952 | 602.654 | 3.8917 | 1244.31 | 2.7978
15.5544 | 5.2427 | 21.9188 | 4.1572 | 30.0946 | 2.7645 | 39.3441 | 2.912 | 47.959 | 3.431 | 60.1804 | 3.6945 | 67.1109 | 5.3433 | 90.8624 | 4.2624 | 110.426 | 5.4024 | 148.91 | 4.9473 | 192.933 | 4.0912 | 288.11 | 2.5673 | 278.758 | 9.1692 | 587.774 | 4.472 | 1199.11 | 3.2767
15.2008 | 5.8232 | 21.1438 | 4.7915 | 28.9435 | 3.1107 | 38.488 | 3.1672 | 46.2632 | 3.8878 | 58.4602 | 4.1489 | 65.3885 | 6.0005 | 88.177 | 4.7486 | 107.699 | 6.0608 | 145.379 | 5.5836 | 188.735 | 4.5215 | 276.813 | 2.912 | 272.965 | 10.6105 | 573.262 | 5.1441 | 1154.4 | 3.8223
14.8551 | 6.4549 | 20.437 | 5.5614 | 27.948 | 3.4793 | 37.3132 | 3.5603 | 45.0758 | 4.3529 | 56.9029 | 4.6313 | 63.8378 | 6.8609 | 86.604 | 5.1647 | 104.83 | 7.0206 | 140.941 | 6.5525 | 184.443 | 5.0473 | 267.292 | 3.2964 | 267.56 | 12.3276 | 559.108 | 5.8935 | 1114.7 | 4.472
14.5755 | 7.1696 | 19.833 | 6.3843 | 27.2307 | 3.8723 | 36.3192 | 4.0142 | 43.8751 | 4.9177 | 55.4979 | 5.2218 | 62.1373 | 7.9793 | 84.8891 | 5.7021 | 102.447 | 7.9793 | 137.187 | 7.5447 | 180.25 | 5.6624 | 257.583 | 3.7316 | 261.215 | 14.8625 | 546.396 | 6.8063 | 1081.75 | 5.1389
14.3155 | 8.0594 | 19.2853 | 7.2199 | 26.3731 | 4.3269 | 35.2811 | 4.6128 | 42.6636 | 5.5892 | 54.1819 | 5.9289 | 60.7852 | 9.2243 | 83.2082 | 6.3271 | 100.318 | 9.1325 | 133.666 | 8.8715 | 176.504 | 6.3843 | 249.721 | 4.2074 | 255.531 | 17.7049 | 533.972 | 7.9157 | 1053.99 | 5.829
14.0461 | 9.1234 | 18.9035 | 8.1894 | 25.4915 | 4.9523 | 34.2726 | 5.269 | 41.6519 | 6.3525 | 52.8441 | 6.7927 | 59.522 | 10.7278 | 81.6422 | 7.0417 | 98.43 | 10.5787 | 131.15 | 10.1537 | 172.663 | 7.2706 | 243.799 | 4.6966 | 251.475 | 20.4676 | 521.309 | 9.3544 | 1032.09 | 6.5068
13.8924 | 10.0627 | 18.5292 | 9.1967 | 24.7381 | 5.6285 | 33.3596 | 6.0427 | 40.7048 | 7.1552 | 51.6426 | 7.79 | 58.1686 | 12.6777 | 80.3463 | 7.8056 | 95.9998 | 12.6018 | 128.296 | 11.9394 | 168.4 | 8.5151 | 236.121 | 5.4403 | 247.483 | 23.5669 | 512.522 | 10.653 | 1006.6 | 7.4249
13.713 | 11.2104 | 18.1623 | 10.4734 | 24.1273 | 6.3145 | 32.4385 | 7.0276 | 39.8988 | 8.0433 | 50.62 | 8.916 | 57.2453 | 14.6999 | 78.913 | 8.792 | 94.0988 | 14.952 | 125.756 | 13.983 | 165.066 | 9.7459 | 230.983 | 6.1034 | 242.825 | 28.6126 | 503.379 | 12.1806 | 973.933 | 8.9607
13.5494 | 12.7285 | 17.8026 | 12.0956 | 23.7206 | 6.916 | 31.5744 | 8.3298 | 39.1087 | 9.1234 | 49.5185 | 10.5154 | 56.2804 | 17.4588 | 77.6604 | 9.8242 | 92.6052 | 17.4588 | 123.142 | 16.8078 | 161.797 | 11.2891 | 225.055 | 7.0206 | 238.732 | 34.1529 | 494.399 | 13.8994 | 947.989 | 10.3796
13.3878 | 14.7588 | 17.4676 | 14.011 | 23.3909 | 7.6205 | 31.1043 | 9.2613 | 38.565 | 10.1639 | 48.6838 | 12.1562 | 55.6647 | 20.0223 | 76.5808 | 10.89 | 91.3178 | 20.3045 | 120.825 | 20.1427 | 158.911 | 12.9986 | 219.498 | 8.1404 | 235.649 | 39.839 | 485.094 | 16.3437 | 923.659 | 12.0956
13.2414 | 16.7407 | 17.1903 | 16.0682 | 23.1119 | 8.2717 | 30.4884 | 10.653 | 38.0289 | 11.2666 | 47.911 | 14.0953 | 55.1108 | 23.2626 | 75.3652 | 12.2907 | 90.2285 | 24.0912 | 118.788 | 23.995 | 155.608 | 15.75 | 213.011 | 9.7947 | 232.141 | 49.2962 | 477.394 | 18.9697 | 898.155 | 14.294
13.1358 | 18.9697 | 16.9174 | 18.5569 | 22.7678 | 9.2243 | 30.0045 | 12.0956 | 37.5002 | 12.5892 | 47.1506 | 16.6906 | 54.617 | 27.2171 | 74.2432 | 14.1943 | 89.4201 | 27.3809 | 116.786 | 28.8712 | 153.292 | 18.5014 | 209.211 | 11.2104 | 227.544 | 64.7056 | 470.758 | 21.8204 | 875.104 | 16.8752
13.0312 | 21.4097 | 16.6323 | 21.7986 | 22.4288 | 10.3588 | 29.6466 | 13.7611 | 36.9419 | 14.5101 | 46.4486 | 20.1025 | 54.1277 | 32.7481 | 73.1378 | 16.6739 | 88.5304 | 31.4012 | 115.393 | 34.3241 | 150.708 | 22.8933 | 205.273 | 12.9986 | 223.708 | 84.0027 | 465.142 | 25.1748 | 853.498 | 19.6258
12.8886 | 25.4533 | 16.4011 | 25.7348 | 22.117 | 11.797 | 29.4103 | 15.2693 | 36.3919 | 16.909 | 45.8487 | 23.9231 | 53.8577 | 38.2004 | 72.121 | 19.7439 | 87.3869 | 39.4821 | 113.561 | 42.5571 | 148.91 | 27.2443 | 201.41 | 15.3612 | 221.04 | 103.839 | 458.676 | 28.7847 | 835.761 | 23.0081
12.7859 | 30.7179 | 16.1892 | 29.8399 | 21.7877 | 13.6105 | 29.1177 | 17.4763 | 35.8501 | 20.2437 | 45.3471 | 29.7208 | 53.482 | 44.6944 | 71.5464 | 22.5976 | 86.2583 | 48.7569 | 111.982 | 51.3594 | 146.693 | 33.5436 | 198.61 | 17.8471 | 218.84 | 126.957 | 453.204 | 33.4766 | 819.212 | 26.7583
12.7222 | 37.6317 | 15.9961 | 35.7964 | 21.5494 | 15.5311 | 28.9725 | 19.295 | 35.3871 | 23.9231 | 44.9408 | 37.1456 | 53.3752 | 55.86 | 70.9054 | 26.3336 | 85.4 | 62.982 | 110.647 | 62.5426 | 145.379 | 40.4007 | 195.067 | 20.9648 | 216.23 | 157.095 | 449.593 | 38.3152 | 804.598 | 31.4012
12.6587 | 46.6115 | 15.8686 | 42.5146 | 21.2923 | 18.0265 | 28.8568 | 21.9298 | 34.9999 | 28.5554 | 44.5381 | 45.5972 | 53.2153 | 69.6755 | 70.1998 | 31.6851 | 84.3813 | 81.3572 | 109.436 | 75.1021 | 143.645 | 50.2418 | 192.74 | 24.4064 | 214.722 | 184.906 | 444.23 | 43.4603 | 789.455 | 36.4465
12.6334 | 59.3142 | 15.7422 | 49.8914 | 21.1015 | 20.8394 | 28.7416 | 25.7091 | 34.7558 | 32.6827 | 44.2717 | 55.2489 | 52.9499 | 87.6936 | 69.6405 | 38.2004 | 83.7927 | 104.151 | 108.239 | 91.4552 | 142.215 | 63.1712 | 189.491 | 30.2303 | 212.373 | 219.39 | 437.617 | 50.2418 | 774.597 | 41.9655
12.646 | 76.161 | 15.648 | 62.7305 | 20.8498 | 24.5533 | 28.6269 | 29.8996 | 34.3756 | 38.5844 | 43.9629 | 69.4668 | 52.7385 | 104.883 | 69.3625 | 44.7838 | 83.0419 | 134.942 | 107.269 | 114.76 | 141.082 | 76.2372 | 187.231 | 36.12 | 211.102 | 254.895 | 431.964 | 56.0839 | 757.742 | 48.1754
12.6334 | 96.1442 | 15.5856 | 77.3893 | 20.7458 | 28.2713 | 28.4841 | 35.868 | 34.1699 | 45.9175 | 43.8312 | 85.5285 | 52.5805 | 132.535 | 69.0856 | 53.8848 | 82.3803 | 174.138 | 106.627 | 141.578 | 140.238 | 93.3027 | 184.998 | 43.941 | 210.26 | 278.342 | 425.108 | 63.1712 | 743.481 | 54.7539
12.6334 | 120.765 | 15.5233 | 93.1163 | 20.6837 | 32.2929 | 28.3704 | 43.2435 | 33.9316 | 55.6926 | 43.5255 | 107.969 | 52.4755 | 166.976 | 68.8098 | 66.9435 | 81.6422 | 230.177 | 105.99 | 175.011 | 139.26 | 114.188 | 182.974 | 52.8706 | 209.63 | 297.63 | 418.36 | 71.4393 | 727.303 | 63.1081
12.6334 | 156.311 | 15.5544 | 114.646 | 20.56 | 38.086 | 28.2854 | 52.6596 | 33.7623 | 67.5487 | 43.2218 | 135.077 | 52.3183 | 210.787 | 68.5351 | 77.0804 | 81.235 | 268.232 | 105.461 | 214.616 | 138.704 | 139.889 | 181.153 | 66.0788 |  |  | 410.076 | 81.4386 | 707.928 | 73.1015
12.6208 | 189.208 | 15.5544 | 140.309 | 20.5189 | 45.4607 | 28.2007 | 64.0618 | 33.594 | 81.6833 | 43.0493 | 167.813 | 52.2138 | 257.199 | 68.1251 | 90.5452 | 81.0727 | 303.036 | 105.25 | 267.963 | 138.289 | 171.032 | 179.351 | 81.3572 |  |  | 399.552 | 95.4736 | 690.45 | 84.1709
12.6334 | 222.705 | 15.57 | 176.064 | 20.4984 | 52.24 | 28.0881 | 79.9858 | 33.4933 | 99.7682 | 42.8346 | 212.906 | 52.1616 | 301.826 | 68.057 | 103.839 |  |  | 105.145 | 307.308 | 138.289 | 213.759 | 178.456 | 95.5691 |  |  | 388.131 | 110.813 | 667.369 | 99.0723
12.6208 | 253.117 | 15.57 | 218.295 | 20.5189 | 63.9978 | 27.948 | 100.168 | 33.3596 | 119.683 | 42.621 | 261.086 |  |  | 67.7853 | 121.492 |  |  |  |  | 138.012 | 249.847 | 177.211 | 111.592 |  |  | 377.792 | 127.977 | 646.351 | 114.302
12.5956 | 298.524 | 15.5856 | 261.086 | 20.4779 | 78.4804 | 27.8364 | 119.563 | 33.2264 | 149.582 | 42.4508 | 303.642 |  |  | 67.5823 | 145.307 |  |  |  |  | 137.599 | 297.928 | 176.504 | 132.535 |  |  | 366.626 | 147.798 | 625.37 | 131.479
|  | 15.6012 | 302.733 | 20.4574 | 94.6182 | 27.6699 | 150.784 | 33.1601 | 181.426 |  |  |  |  | 67.3798 | 178.368 | [6 empty] | 175.799 | 156.467 |  |  | 357.574 | 167.813 | 604.465 | 150.182
|  |  |  | 20.437 | 116.845 | 27.5595 | 188.83 | 33.0607 | 223.151 |  |  |  |  | 67.1109 | 214.831 | [6 empty] | 174.573 | 190.157 |  |  | 346.313 | 197.522 | 587.187 | 167.31
|  |  |  | 20.4165 | 143 | 27.4494 | 226.977 | 32.9617 | 270.927 |  |  |  |  | 67.0438 | 252.106 | [6 empty] | 173.876 | 225.845 |  |  | 336.078 | 223.822 | 567.558 | 186.765
|  |  |  | 20.3758 | 174.487 | 27.3399 | 270.657 | 32.8958 | 300.922 |  |  |  |  | 66.9098 | 283.681 | [6 empty] | 173.182 | 261.086 |  |  | 328.108 | 253.117 | 549.134 | 208.273
|  |  |  | 20.3961 | 211.844 | 27.3125 | 303.642 | [6 empty] | 66.7761 | 303.339 | [6 empty] | 172.491 | 297.928 |  |  | 322.255 | 284.249 | 536.648 | 228.115
|  |  |  | 20.3961 | 248.601 | [20 empty] | 316.823 | 319.211 | 523.922 | 252.106
|  |  |  | 20.3961 | 302.43 | [20 empty] | 313.357 | 359.19 | 512.009 | 279.458
[26 empty] | 310.86 | 407.016 | 501.369 | 312.577
[26 empty] | 309.619 | 449.822 | 491.933 | 346.489
[26 empty] | 309.929 | 518.974 | 485.58 | 381.401
[26 empty] | 309.31 | 599.954 | 481.71 | 435.656
[28 empty] | 480.267 | 487.774
[28 empty] | 479.787 | 542.861
[28 empty] | 480.267 | 598.157